## Coil-cond-furn
HOUSTON POWER SAVERS |  | INVOICE
TACLB020326E
10222 INWOOD DR. | DATE: | 2021-03-16
HOUSTON,TEXAS 77042 | INVOICE # | 00210316
OFFICE # (832) 968-0000 | FOR: | New Installation
John Hettig
16 Sovereign Circle
Richmond, TX 77469
2813448311
DESCRIPTION |  | AMOUNT
Replace 14 SEER high-efficiency 5 ton condensing unit
M/N: 4TTR4060L1000BA / S/N: 20493T805F
*pulled vacuum/vacuum time
*flushed copper lines with R-11 flush
*recharged with R-410A
| subtotal | 2349
Replace 5 ton upflow box evaporator coil
*expansion valve R-410A system
M/N: A4MXC4260AC3HAA / S/N: 20443B8RCV
subtotal |  | 1926
Installation labor cost
subtotal |  | 975
Serviced air 3 other conditioning systems–97.00 ea
*cleaned evaporator coils
*blew out/vacuumed drainlines
*added clorox/pan tabs
*checked freon levels–good
*washed down condensers
*checked filters–changed all filters
subtotal |  | 291
Installed Honeywell T-1 Pro non-prog. in master bedroom
| subtotal | 197
Notes:
Sent all manufacturer warranty information. HPS provides a 2-year labor warranty
| TOTAL | 5738
Make all checks payable to Houston Power Savers
If you have any questions concerning this invoice, contact: Kenneth Longoria, (713) 306-2694
THANK YOU FOR YOUR BUSINESS!